## Intro
Name of the laboratory/facility: | Viral Diagnosis Lab
Name of the biological materials: | Monkey Pox

## Biological Material Properties
Biological Materials Questions | Discrete Values / Answer Options-Guidance |  |  |  |  | Value | Weight | Final Score | Inhalation | Final Score | Percutaneous | Final Score | Contact | Final Score | Ingestion | Final Score
Likelihood of Infection | [8 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Biological agents have unique properties which can influence the likelihood of an infection following an exposure and the consequences of disease in the event on an infection. For likelihood of infection, the primary drivers are the routes of infection and the infectious dose. The specific infectious dose (or ID50) is not as important as understanding if the ID50 is very low (under 1000). For agents with a very low ID50, the potential for an exposure to cause an infection is notably higher than for agents with a higher ID50. | TRUE |  |  |  | TRUE
Can this agent cause disease in humans? | TRUE | Can this agent cause disease in animals? |  |  | TRUE
A1. Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract)? | Not an infectious route = 0 | Unknown but not suspected as a route = .1 |  | A possible or suspected route = .75 | A known infectious route = 1 | 1 |  |  | 0.99 | 0.99
A1a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 |  |  | 0.01 | 0.01
A2. Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream)? | Not an infectious route = 0 | Unknown but not suspected as a route = .1 |  | A possible or suspected route = .75 | A known infectious route = 1 | 1 |  |  |  |  | 0.99 | 0.99
A2a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 |  |  |  |  | 0.01 | 0.01
A3. Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes)? | Not an infectious route = 0 | Unknown but not suspected as a route = .1 |  | A possible or suspected route = .75 | A known infectious route = 1 | 1 | [6 empty] | 0.99 | 0.99
A3a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 | [6 empty] | 0.01 | 0.01
A4. Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract)? | Not an infectious route = 0 | Unknown but not suspected as a route = .1 |  | A possible or suspected route = .75 | A known infectious route = 1 | 0 | [8 empty] | 0.99 | 0
A4a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 0 | [8 empty] | 0.01 | 0
[8 empty] | Security Risk (Humans) | Security Risk (Animals) | Security Risk
Attractiveness | [7 empty] | 0.4959 | 0.4959
Utility of the material for misuse
L1. What type of material will be used in this procedure? | Environmental Samples (soil, water, etc.) = .1 | Diagnostic Samples (blood, urine, tissues samples, saliva, etc.) = .25 |  |  | Purified biological materials (stock culture) = 1 | 0.25 | 0.08 | 0.02
1. What is general population’s knowledge or awareness of this agent as related to biological weapons or bio-crime? | No history of this agent in biowarfare, bio-crime or bioterrorism and no evidence of terrorist interest in this agent = .1 |  |  | Agent has no history of use, but there is evidence of interest by criminals or terror groups = .75 | Agent has a history of use in bioterrorism, bio-crime, or biowarfare = 1 | 0 | 0.1 | 0
2. What will the level of social impact (public panic, rioting, people being unwilling to go out and work, fear of additional incidents) of the disease caused by this agent occurring in the country? | The social impact of an agent release from the facility would be negligible = .05 |  | The social impact of an agent release from the facility would be moderate =.5 |  | The social impact of an agent release from the facility would be catastrophic =1 | 0.1 | 0.06 | 0.006
Production requirements of the material
3. What is the level of microbiological skill required to grow a suitable quantity (to meet the malicious objective) of this agent? | Groundbreaking techniques would be required to grow a suitable quantity of this agent = .05 | Production of a suitable quantity of this agent requires advanced technical skills = .25 |  | Production of a suitable quantity of this agent is straightforward for an individual with undergraduate level microbiological skills = .75 | Suitable quantity of this agent could be produced easily with limited microbiological skills = 1 | 0.25 | 0.1 | 0.025
4. What is the general accessibility of production equipment required to produce this agent? | Production equipment is difficult to acquire and legal restrictions exist regarding procurement = .1 |  | Production equipment is difficult to acquire due to cost =.5 |  | Production equipment can be easily acquired or fabricated = 1 | 0.75 | 0.05 | 0.0375
5. What are the storage requirements for this agent? | Agent is not stable = .05 |  | Agent is stable for days - weeks =.5 | Agent is stable long term but cold storage required =.75 | Agent is stable long-term without cold storage =1 | 0.3 | 0.05 | 0.015
Dissemination options
6. Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.108 | 0.108
6a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 | 0.03 | 0.03
7. Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.018 | 0.018
7a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 | 0.03 | 0.03
8. Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.102 | 0.102
8a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 1 | 0.03 | 0.03
9. Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.072 | 0
9a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 0 | 0.03 | 0
10. Is this agent known to cause infection via vector-borne transmission (to cause infection by direct mucosal membrane contact or percutaneous exposure from a vector (e.g. arthropod))? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.042 | 0
10a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | No = 0 |  |  |  | Yes = 1 | 0 | 0.03 | 0
11. What is this agent’s stability outside of a host? | Agent not stable outside of a host = 0 | Agent stable only on interior surfaces for days to weeks =.25 |  | Agent stable in the environment for days to weeks =.75 | Agent stable in the environment for months =1 | 0.3 | 0.048 | 0.0144
12. Can host to host transmission be used as a dissemination pathway to execute an attack? | No = 0 |  |  |  | Yes =1 | 1 | 0.06 | 0.06
Consequences of Infection | [6 empty] | Humans | 0.38812 | Animals | 0.18426 | Community | 0.42693
The direct health impact (morbidity) and mortality to humans and/or animals
Morbidity of Disease in a Human
1. What is the duration of illness in a normal healthy human host? | Less than 24 hours =.1 | Less than a week =.25 | Multiple weeks =.5 | Multiple months=.75 | Signs of illness present life of host=1 | 0.75 | 0.025875 | 0.019406 | 0 | 0
2. What is the severity of illness in a normal healthy human host? | No sign of diseases=0 | Low signs, host able to function but has some visual symptoms =.25 | Moderate signs of disease, host able to function in a limited capacity (bed rest) =.5 | High signs of disease, host not able to function (hospitalized)=.75 | Extreme signs of disease, host requires mechanical assistance to sustain life, death imminent=1 | 0.5 | 0.048375 | 0.024188 | 0 | 0
3. What is the duration of infection in a normal healthy human host? | Less than 24 hours =.1 | Less than a week =.25 | Multiple weeks =.5 | Multiple months=.75 | Signs of illness present life of host=1 | 0.5 | 0.01125 | 0.005625 | 0 | 0
4. Does this disease cause any long term conditions in a normal healthy human host? | No long term impact=0 | Mild long-term impacts do not impede the hosts ability to function normally=.25 | Moderate long-term impact which hinders the hosts ability to function normally=.5 |  | High long-term impact which renders the host unable to function normally=1 | 0.05 | 0.027 | 0.00135 | 0 | 0
Mortality Rate in Humans
5. What is the frequency of death (mortality rate) in humans caused by this disease? | No Mortality (0%)=0 | Low mortality (1% to 14%)=.25 |  | Medium mortality (15% to 74%)=.75 | High mortality (75% or more) =1 | 0.25 | 0.3375 | 0.084375 | 0 | 0
Impacts to the animal population
6. If the agent infects animals, what is the expected morbidity rate to a naïve but otherwise healthy animal population? | No Mortality (0%)=0 | Low mortality (1% to 14%)=.25 |  | Medium mortality (15% to 74%)=.75 | High mortality (75% or more) =1 | 0 | 0 | 0 | 0.1125 | 0
7. What species of animals can this agent infect? | Affect a livestock species which has no economic impact in our country=0 |  | Affects a less significant livestock species which is used for export and/or the by-products are a source of protein for the country=.5 | Affects a single but significant livestock species which is used for export and/or the by-products are a major source of protein for the country=.75 | Affects multiple, significant agricultural species which are used for export and/or the by-products are a major source of protein for the country=1 | 0.25 | 0 | 0 | 0.243 | 0.06075
8. What is the disease impact on the general population? | Potentially affected animals are currently vaccinated for the disease caused by this agent =.1 |  | Some potentially affected animal are vaccinated =.5 |  | No current vaccination exists against this disease and animals at risk include young and others with compromised immune systems =1 | 0 | 0 | 0 | 0.1125 | 0
Socioeconomical impacts
9. What is the economic impact of an outbreak of this agent to the country? | The economic impact of an agent release from the facility would be negligible=.1 |  | The economic impact of an agent release from the facility would be moderate, GDP would recover in a matter of months. =.5 |  | The economic impact of an agent release from the facility would be catastrophic, significant impact to the GDP of the country. (Impacts of trade and tourism) =1 | 0.1 | 0.08 | 0.008 | 0.064 | 0.0064
10. Is this agent endemic in the country? | The agent is endemic in the country=.1 |  |  | The agent is not endemic in the country, but outbreaks have occurred =.75 | The agent is absent in the environment of the country=1 | 0.25 | 0.04 | 0.01 | 0.04 | 0.01
11. Are there active eradication/control programs of this agent in the country? | There are not active control programs for this agent in this country=.1 |  | Control policies exist but are not effective=.5 | Control program is operational and is moderately effective=.75 | Control program is operation and effective=1 | 0 | 0.02 | 0 | 0.02 | 0
12. Are clinical signs strong indicators of disease present? (For example, diseases that cause sudden death or diseases with obvious signs will be detected faster.) | Minimal Consequences=.1 |  |  |  | Significant Consequences=1 | 0.1 | 0.06 | 0.006 | 0.0614 | 0.00614
Mitigation Measures
13. Are effective diagnostic tests available in the country for humans? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 1 | 0.054 | 0.054 | 0 | 0
14. Are effective post exposure treatments (including immuno-globulin, vaccines and anti-microbials) available in the country for humans? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 0.5 | 0.092 | 0.046 | 0 | 0
15. Are preventative measures (vaccines) available in the country for humans? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 0.5 | 0.054 | 0.027 | 0 | 0
16. Are effective diagnostic tests available in the country for animals? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 0 | 0 | 0 | 0.052 | 0
17. Are effective post exposure treatments (including immuno-globulin, vaccines and anti-microbials) available in the country for animals? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 0 | 0 | 0 | 0.09 | 0
18. Are preventative measures (vaccines) available in the country for animals? | Yes=.1 |  | Yes, but difficult to use and/or only limited availability within the country=.5 |  | No=1 | 0 | 0 | 0 | 0.052 | 0
19. Are secondary consequence measures feasible in the country for animal populations? |  | Isolation/quarantine/culling are feasible options in this country=.25 |  |  | Isolation/quarantine/culling not feasible in this country=1 | 0 | 0 | 0 | 0.006 | 0
Secondary Transmission
Transmission
20. How easily does this agent transmit between human hosts? | Transmission has never been demonstrated=0 |  | Host to host transmission suspected=.5 | Host to host transmission via close contact only=.75 | Agent can transmit between hosts easily=1 | 0.75 | 0.06888 | 0.05166 | 0.06888 | 0.05166
21. How easily does this agent transmit from animal to human hosts? | Transmission has never been demonstrated=0 |  | Host to host transmission suspected=.5 | Host to host transmission via close contact only=.75 | Agent can transmit between hosts easily=1 | 0.75 | 0.02856 | 0.02142 | 0.02856 | 0.02142
22. How easily does this agent transmit from human to animal hosts? | Transmission has never been demonstrated=0 |  | Host to host transmission suspected=.5 | Host to host transmission via close contact only=.75 | Agent can transmit between hosts easily=1 | 0.05 | 0.00708 | 0.000354 | 0.00708 | 0.000354
23. How easily does this agent transmit between animal hosts? | Transmission has never been demonstrated=0 |  | Host to host transmission suspected=.5 | Host to host transmission via close contact only=.75 | Agent can transmit between hosts easily=1 | 0.5 | 0.01548 | 0.00774 | 0.01548 | 0.00774
Host to Host Transmission Routes
24. Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract) in the natural environment? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.012 | 0.012 | 0.0117 | 0.0117
25. Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream) in the natural environment? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.0015 | 0.0015 | 0.0015 | 0.0015
26. Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes) in the natural environment? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 1 | 0.0075 | 0.0075 | 0.0066 | 0.0066
27. Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract) in the natural environment? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.0051 | 0 | 0.0051 | 0
28. Is this agent known to cause infection via vector-borne transmission (to cause infection by direct mucosal membrane contact or percutaneous exposure from a vector (e.g. arthropod))? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.0024 | 0 | 0.0024 | 0
29. Is this agent known to cause infection via vertical transmission (to cause infection from mother to fetus in the womb or via ingestion of infected breast milk)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.0009 | 0 | 0.0009 | 0
30. Is this agent known to cause infection via sexual transmission (to cause infection through sexual contact including intercourse)? | Not an infectious route = 0 | Unknown =.25 |  | A possible route of infection = .75 | Infectious Route =1 | 0 | 0.0018 | 0 | 0.0018 | 0
Yes
Yes

## Laboratory Procedures
Laboratory Procedures Questions | Discrete Values / Answer Options-Guidance |  |  |  |  | Value |  | Individual Values |  |  |  | Community Values
Laboratory procedures that increase the potential for an exposure: | [7 empty] | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
Any work with infectious material increases the potential for an exposure. This includes indirect exposures such as the infectious material being on a hand, which is transferred to the eyes, mouth, nose, or potentially to another individual. Any work with infectious material has the potential to cause a spill or splash potentially causing an exposure via contact, ingestion, or inhalation. | [7 empty] | 0.1755 | 0.225 | 0.4625 | 0.46 | 0.0886 | 0.1855 | 0.46 | 0.46
Are Animals used in this laboratory procedure? |  |  |  | TRUE |  | FALSE | Human | 0.1755 | 0.225 | 0.4625 | 0 | 0.0886 | 0.1855 | 0.46 | 0
Laboratory procedures that increase the potential for an exposure: | [6 empty] | Animal | 0.0886 | 0.1855 | 0.46 | 0 | 0.0886 | 0.1855 | 0.46 | 0
The type and purity of material alters the potential for an exposure leading to an infection, pure material (e.g. a stock viral or bacterial culture) has a higher potential for an exposure leading to an infection than a less pure sample (e.g. diagnostic blood sample) due mainly to the concentration of infectious material present. If the procedure will have both purified material and diagnostic samples, select the purified material option. Note that some material in the laboratory is not infectious and will have a lower potential for exposure, for example, verified inactivated samples and PCR product. Depending on the procedure and agent, cell lysate, supernatant or other derivatives of infectious material will have varying potential for exposure. The concentration of the infectious material is the dominating factor as well as the presence of any inactivating factors (chemical-acidic/basic solution or physical-antibody capture) that would limit the ability of the handler to become exposed.
1. What type of material will be used in this procedure? | Environmental Samples (soil, water, etc.) = .1 | Diagnostic Samples (blood, urine, tissues samples, saliva, etc.) = .25 |  |  | Purified biological materials (stock culture) = 1 | 0.25
Volume of material, the larger volume of material being handled at any point of time during the procedure increases the potential for an exposure, which could lead to an infection. Often procedures in the laboratory will reduce the volume or concentrate the material, therefore, for this question answer according to the largest volume of material at any time in the procedure. For example, if the goal of the procedure was to make a 10 mL stock solution from centrifuging a 1 L bacterial culture, then select the “Liter volumes” option. If the material is NOT in liquid form (e.g. a bacterial culture on a slant), for the purposes of this question, you may use the general rule of 1 gram = 1 mL.
2. What is the greatest volume of material existing at one time in the procedure? | Microliter (mL) volumes = .01 | Milliliter volumes (mL) = .25 | Liter volumes (L) = .5 |  | Multiple liter volumes (over 10 L) = 1 | 0.25
The potential for exposure from aerosols is in direct relation to the potential for aerosol production, which yields very small airborne particles and droplets that may contain infectious material that could be inhaled and/or contaminate the surrounding area. Aerosols are a byproduct of some common laboratory processes and procedures, including any activity where liquid or semi-liquid material is being shaken, poured, grinded, stirred, blended, or spilled. In addition, opening containers containing liquid could generate aerosols or release aerosols that have been generated. For example, removing a cryovial from liquid nitrogen and then not allowing the gas to equilibrate as the sample warms up, by slightly unscrewing the cap, could cause the sample to explode. Laboratory procedures that might create aerosols may include: pipetting (large and small volumes), sonication, centrifugation, mixing, lyophilization, streaking agar plates, homogenizing, vortexing, and some work with animals including, but not limited to aerosol inoculation. Generally, in the lab setting, the more procedures which may generate an aerosol the greater potential for an inhalation exposure. Furthermore, when considering the exposure potential for any specific aerosol producing procedure, some factors that might contribute to a higher potential. These could include time (duration of the procedure), frequency (repeated actions in succession), poor technique, faulty equipment, location (including room air currents), intensity (e.g. vortexing at maximum speed), bubble formation and others.
3. What is the potential for aerosols to be generated as a byproduct of this procedure? (E.g. pipetting, sonication, etc.)? | No procedures in use which may generate an aerosol = .01 | A limited quantity of aerosols may be produced = .25 |  |  | A notable potential for the generation of aerosols may be produced = 1 | 0.1
This question addresses whether aerosols containing infectious material are intentionally being generated during the procedure for experimental purposes. Conducting aerosolization experiments, in general, will add to the potential of exposure from aerosols, which is why despite the scale of the experiment (large or small scale), both options confer a higher potential for exposure. Most examples of aerosolization experiments include animals, but not all, and often strive to determine the course of disease after exposure to infectious material or these experiments may strive to determine the efficacy of a vaccine by challenging animals with the infectious material. The nature of the experiment will also play a role, for example, multiple large animals (cattle) that are simultaneously exposed to aerosolized infectious material in a large space would be considered a large scale experiment, whereas a limited number of small animals (mice) exposed (via nose-only) to aerosolized infectious material would be considered a small scale experiment. Factors such as sample size, sample number, the method for aerosolization, and any space considerations, may also affect the scale of the aerosolization experiment, and should be noted by the BioRAM administrator to document, in which context, the question was answered.
4. Are aerosolization experiments being conducted as part of this procedure? | No aerosol experiments are being performed = .01 |  | Small scale aerosolization experiments are being performed =.5 |  | Large scale aerosolization experiments are being performed =1 | 0.01
Quantity of sharps or potentially sharp material used in the procedure and present in the laboratory impacts the potential for a break of the skin during a procedure increasing the potential for a percutaneous exposure. More sharp or potentially sharp material increases the potential for an exposure. Therefore, the first question in this series strives to determines the volume of sharps as a function of the frequency in which they are used in the procedure. For example, using a needle to inject a drug into an infected mouse, could be considered using a small volume of sharps, compared to using multiple needles to perform a fine dissection of infected mouse tissue. In addition to scalpels and needles, other types of sharp material that could be used during a procedure include: micropipetter tips, glass and plastic pipettes, capillary tubes, tweezers, knives, scissors etc. These sharps may be used in procedures such as surgery, injection, dissection, inoculation, lysing cells, tissue culture and most commonly, pipetting. Procedures involving animals with sharp teeth, claws, nails, or other sharp features may also be considered a source of sharps, depending on the condition and nature of the animal during the procedure.
5. What is the amount of sharps used in the procedure? | There are no sharps in use =.01 |  | A small volume of sharps in use (e.g. scalpels or needles rarely used for this procedure) = .5 |  | A large volume of sharps in use (e.g. scalpels or needles in use at least daily in this procedure) =1 | 0.1
Similar to the question above, this question contributes to understanding the potential for percutaneous exposure, however, it has a much broader scope and context. For example, this question includes a measure of all potentially breakable material, which if broken, would create a sharp hazard, not just the materials that are by nature sharp. Therefore, when answering this question, please include a measure of the sharps included in the previous question in addition to the amount of breakable material included in this question. Furthermore, the context of this question includes the entire laboratory as compared to only one procedure in the previous question. When any amount of breakable or sharp material is present in the laboratory, it can contribute to a higher potential of exposure via the percutaneous route of infection, which is why despite the amount (small or large) of breakable material in the lab, both options confer a higher potential for exposure. Factors that might contribute to determining if the overall amount of breakable (and items with sharp edges) in the laboratory is small or large could include the size of the lab, types of procedures performed and the amount of plastic ware to glassware available, among others. In addition to laboratory glassware, other types of breakable material could include: large glass pipettes, glass septum vials, reagent bottles, slides, cover slips, gel casting plates, equipment, some test kit components, hemocytometers, agglutination slides, etc.
6. What is the amount of breakable material or items with sharp edges in this laboratory? | There is no breakable material or items with sharp edges in the laboratory in the laboratory = .01 |  | A small amount of breakable material and items with sharp edges in the laboratory =.5 |  | A large amount of breakable material (e.g. glassware common in the laboratory) and items with sharp edges in the laboratory =1 | 0.25
The potential for a splash, a spill or a high pressure sustained release of infectious material (an aerosol generation) has a notable influence on the potential for a contact, ingestion, and/or inhalation exposure. Whereas the previous questions regarding aerosol generation calculated the potential specifically for the risk of inhalation exposure, this question extends the calculation to include for the potential of contact and ingestion exposure from a spill, splash and/or aerosol generation. Therefore, this question strives to analyze the possibility for a spill, splash, or aerosol generation of infectious material, in the procedure that is being analyzed. Notably, procedures involving liquids will constitute a potential for a spill or splash and if the liquid is under any type of pressure, for example, during aerosolization experiments there can be an even higher potential for exposure. This is mostly due to the nature of aerosols (see description for question #3), where the infectious material particles and droplets can be dispersed over a large area and be difficult to detect. The type of procedure will factor into the potential for a splash spill and/or aerosol generation. Some common procedures involving liquids and factors that may contribute to a high potential are also included in the description for question #3. Spill-able forms of infectious material are often liquids, but may also include semi-solid materials and solids that could be dispersed after being disturbed. The type of material can influence the potential of exposure, which for the purposes of this question, can determine the extent of the splash and/or spill.
7. What is the potential and extent of a splash or spill in this procedure? | Material does not exist in a spill-able form in the laboratory =.01 |  | There is a potential for a spill or splash of infectious material =.75 |  | There is a potential for a high pressure sustained release of infectious material =1 | 0.5
Laboratory procedures with animals that increase the potential for an exposure:
Having animals in the laboratory increases the potential for an exposure. The greater the quantity of animals the greater the need for contact to the animals and the greater quantity of infectious material potentially shed from the animals, thereby increasing the potential for exposure. Larger animals have a higher volume of potentially shed infectious material than smaller animals. And multiple species of animals increase the variability requirements for handling and housing of animals and therefore may increase the potential for an exposure. Exposures to infectious material from animals includes contact, inhalation, and percutaneous exposure (bites or scratches) as well as ingestion caused by material entering the mouth or nose indirectly or via a splash (to include specifically projected material).
8. How many animals are in use in this procedure? |  |  | A small number of animals exist in the laboratory (e.g. less than 50 small animals or rodents, or less than 5 larger animals) = .5 |  | A large number of animals exist in the laboratory (e.g. more than 50 small animals or rodents, or more than 5 larger animals) = =1
9. What is the typical size of these animals? |  | Small animals (<5 lbs) = .25 | Arthropods = .25 | Medium animals (5 to 15lbs) = .75 | Large Animals (>15lbs) = 1
10. Are there more than one species of animal in use in the laboratory? | Only 1 species of animal in use this laboratory during the duration of this procedure = .25 |  | Only 2 species of animals in use =.75 |  | More than 2 different species in use = 1
11. Are animals which have the potential to shed infectious particles used in this procedure? |  |  | Animals are used, but not expected to shed infectious particles = .5 |  | Animals are used and can shed infectious particles (via sneezing, coughing, in saliva, in skin lesions, in urine, in feces, etc.) = 1
12. How much waste is produced by the laboratory animals used in this procedure? |  |  | The animals generate small quantities of animal by-products/waste = .5 |  | The animals generate large quantities of animal by-products/waste = 1
13. Are animals which have the potential to bite or scratch (transmit infectious material through the skin) used in this procedure? |  | The animals used are not typically able to puncture skin = .25 | The animals are docile, but is capable of puncturing skin, if provoked (e.g. cat, dog, ferret) or The animals are arthropods which can server as a vector for the agent(s) in use in this procedure = .5 |  | The animals are naturally highly aggressive (non-human primate) = 1
No
Yes

## BioSafety Measure Effectiveness
Laboratory Procedures Questions |  | Discrete Values / Answer Options-Guidance |  |  |  |  | Value |  | Individual Values |  |  |  | Community Values
Biosafety Mitigation Measures: | [8 empty] | Mitigation of Inhalation Exposure (I) | Mitigation of Percutaneous Exposure (I) | Mitigation of Contact Exposure (I) | Mitigation of Ingestion Exposure (I) | Mitigation of Inhalation Exposure (C) | Mitigation of Percutaneous Exposure (C) | Mitigation of Contact Exposure (C) | Mitigation of Ingestion Exposure (C)
Biosafety mitigation measures can be organized by the hierarchy of controls: engineering, administrative (policies and procedures), and personal protective equipment (PPE). Not all mitigation measures reduce the potential of exposures for all routes. Biosafety measures existing without a management system to ensure proper processes for use, training, maintenance do not provide full protection and therefore do not reduce the potential for exposure to the same level as the same measures in the presence of a biorisk management system. | [8 empty] | 59.36% | 64.75% | 64.75% | 64.75% | 90.9% | 86.04% | 77.49% | 79.36%
Engineering controls: | [7 empty] | Human | 0.1755 | 0.225 | 0.4625 | 0 | 0.0886 | 0.1855 | 0.46 | 0
|  | Value = 1 | Value = .75 | Value = .5 | Value = .25 | Value = 0 |  | Animal |  |  |  |  | 0.0886 | 0.1855 | 0.46 | 0
Overall measures to ensure engineering controls are maintained, certified (or validated), trained on and operating procedures verified, helps to ensure the equipment is working as designed and offering the appropriate level of protection. | [8 empty] | 0.10209 | 0.14277 | 0.29348 | 0 | 0.078927 | 0.15641 | 0.34931 | 0
1.1 | Are there procedures in place for preventative equipment maintenance to reduce/eliminate accidents or equipment failure, which meet defined best practices? These would include equipment calibration, validation, certification, etc. | This laboratory has an active preventative equipment maintenance program, and well-defined procedures and plans in place |  | This laboratory has some procedures in place for maintenance, but lacks oversight in implementation | This laboratory has limited procedures in place for equipment maintenance, but maintenance is generally reactive rather than preventative | There is no equipment maintenance program at this laboratory | 1 | [5 empty] | 0.078927 | 0.15641 | 0.34931 | 0
1.2 | What is the implemented process for the decontamination of equipment prior to maintenance? | No equipment is maintained or repaired without decontamination, and the process is documented and validated |  | Decontamination of equipment prior to maintenance or repair is performed, but not validated |  | There is no decontamination of equipment prior to maintenance or repair | 0
Primary containment reduces the potential for an aerosol release during a procedure; likewise, biosafety cabinet or other isolators reduce exposure potentials in the same manner. Building ventilation and directional airflow reduce the potential for an aerosol release to the environment.
1.3 | Are Biosafety cabinets used in this procedure? | Biosafety cabinets are always used, they are routinely validated/certified, well- maintained, and there are procedures in place for proper use |  | Biosafety cabinets exist, but are used only periodically - and/or Biosafety cabinets exist, but no formal training programs or procedures are in place for their use - and/or Biosafety cabinets exist, but they are not validated/certified on a regular basis (annually) |  | Biosafety cabinets are not in use or not in existence | 1
1.4 | Is all the equipment used in this procedure with a potential to generate infectious aerosols (e.g. centrifuge, vortexer, sonicator) isolated or sealed in a manner to prevent aerosol escape (e.g. sealed rotor cups, equipment in BSC or in a biobubble, etc) prior to use? | Equipment is always isolated/sealed and devices are validated/certified and well- maintained |  | Equipment is used in isolation or is internally sealed (e.g. used in a BSC, equipment uses sealed rotor cups, etc), but there are no formal procedures for use - and/or Equipment is used in isolation (e.g. used in a BSC) or is internally sealed, but the mechanism has not been validated or certified |  | Equipment is located and used on an open bench or in an open area and has no internal sealing mechanisms | 1
1.5 | Are other forms of Primary Containment used in this procedure? | Primary containment devices are always used in this procedure, are validated/certified, well-maintained, and there are procedures in place for proper use |  | Primary containment devices exist, but are used only periodically - and/or Primary containment devices exist, but there is no formal training program or procedures in place for their use - and/or Primary containment devices exist, but they are not validated/certified on a regular basis |  | No primary containment devices are used for this procedure | 1
1.6 | Are measures in place to reduce infectious aerosols exiting the laboratory? (Ventilation / HVAC) | All air exhausted from this laboratory is via well-maintained HEPA filters | All air exhausted from this laboratory is via duct work which is not recirculated into other space | All laboratory air is not recirculated, but not specifically exhausted via ducts |  | Laboratory air is potentially circulated into other facility or community space | 0.75
Waste handling equipment (autoclaves, incinerators, effluent treatment systems, etc.) reduce the potential for a contact (and potentially ingestion) exposure within the laboratory by reducing the amount of infectious material in the laboratory, but more specifically reduce the potential for a release to the environment.
1.7 | How is liquid waste (effluent) handled? | Liquid waste is safely and efficiently treated within lab |  | Liquid waste leaves lab for external treatment |  | Liquid waste is removed from lab and not treated | 0
1.8 | How easy are the surfaces in the laboratory to decontaminate? | All surfaces can be decontaminated |  | Some surfaces are difficult to decontaminate (e.g. edges) |  | Surfaces are very difficult to decontaminate (e.g. wood, grout, etc) | 1
1.9 | How is contaminated waste stored in the laboratory? | Contaminated waste is safely and efficiently treated within lab |  | Contaminated waste leaves lab for external treatment |  | Contaminated waste is removed from lab and not treated | 1
Puncture resistant containers for sharp or potentially sharp waste also reduce the potential for a contact or percutaneous exposure to individuals within the laboratory and to the environment.
1.10 | How is sharp waste handled? | No sharp material ever leaves this laboratory | Sharp waste is first decontaminated and then leaves the facility in puncture-resistant containers | Sharp waste is first decontaminated and leaves the facility in non-puncture-resistant waste containers (e.g. plastic bags) |  | Sharp waste is removed from the facility prior to decontamination | 0.75
Administrative Controls:
|  | Value = 1 | Value = .75 | Value = .5 | Value = .25 | Value = 0
Starting with management commitment to safety, administrative controls reduce the potential of exposure by enabling better work practices, incident management, and create a responsible safety culture. Administrative controls can reduce the potential for an exposure to an individual in the laboratory and to the environment. Administrative controls include implementation of good laboratory practices, practices and procedures to reduce generation of aerosols, proper hand washing techniques, proper inventory management, proper sharps handling, proper spill response procedures, larger incident response procedures, and waste storage and handling. These measures reduce the potential for exposure via all routes.
2.1 | Does the institution have defined roles and responsibilities for biosafety? | Management at this facility ensures roles, responsibilities, and authorities are defined, documented, and communicated |  | A biosafety officer is identified at this facility | Facility personnel are educated on their biosafety roles and responsibilities | There is no identification of, or education on, biosafety roles and responsibilities | 1
2.2 | Has the institution made a commitment to safety? | Management at this facility identifies and prioritizes program needs and allocates funds as necessary | This facility has a comprehensive biosafety policy in place, which was developed, authorized, and signed by top management. The policy is appropriate to the nature and scale of the risk. Management establishes the commitment and objectives of the biosafety system, and communicates this to all stakeholders. | Management at this facility have made some efforts to improve biosafety at the facility, but they are not comprehensive and/or are not fully implemented | Management at this facility is aware of biosafety concerns, but has not implemented a biosafety policy or devoted resources to address the issue | Management at this facility is not aware, or interested in, biosafety concerns | 1
2.3 | Does the institution have comprehensive biosafety documentation? | This facility’s biosafety documentation also includes risk assessment and incident response information | This facility has biosafety policies, manuals, and SOPs | This facility has some biosafety documentation, but they are not comprehensive and / or not fully implemented | This facility has no specific biosafety documentation | This facility has no biosafety policies, manuals, or SOPs | 1
2.4 | Does the institution conduct biosafety drills or exercises? | This facility includes external responders in their exercises |  | This facility conducts annual exercises | This facility conducts tabletops or other exercises on an ad hoc basis | This facility does not conduct any biosafety exercises | 0.3
2.5 | Does the institution periodically review the biosafety program? | Management at the facility ensures continual improvement, conducts routine self- assessments, and ensures corrective and preventive actions. Reviews include assessing opportunities for improvement and any needs for changes to the system, procedures, policies, and objectives. |  | The biosafety program is subject to internal self-assessments | The biosafety program is reviewed and revised as necessary after any incidents or near-incidents | There is no review of the biosafety program | 1
2.6 | Are all biological agents in this laboratory inventoried? | This laboratory has a complete and well-maintained inventory system |  |  | This laboratory has a limited inventory system | There is no inventory system at this laboratory | 0.1
2.7 | Is there a shipping and receiving program in place at this laboratory? | This laboratory has an active shipping and receiving program, and well-defined procedures and plans in place |  | This laboratory has some procedures in place for shipping and receiving, but lacks oversight in implementation | This laboratory has limited procedures in place for shipping and receiving | There is no shipping and receiving program at this laboratory | 0.25
2.8 | Are there standard operating procedures in place for unexpected or catastrophic incidents, including the release of or exposure to an infectious agent (e.g. Incident response plans)? | This laboratory has an active incident response program, and well-defined procedures and plans in place |  | This laboratory has some procedures in place for incident respons, but lacks oversight in implementation | This laboratory has limited procedures in place for incident response, but maintenance is generally reactive rather than preventative | There is no incident response program at this laboratory | 0.5
2.9 | Does this laboratory implement standard good laboratory practices for safety? | This laboratory has an active good laboratory practice program and well-defined procedures that employees are familiar with and implement |  | This laboratory has some procedures in place which include standard good laboratory practices, but lacks oversight in implementation | This laboratory has limited established procedures in place which include standard good laboratory practices | This laboratory does not have established procedures in place which includes standard good laboratory practices | 1
2.10 | How are sharps handled in the laboratory? | Sharps are never handled by hand directly (e.g. needles are not recapped, a mechanical system like forceps are used to remove needles and/or scalpel blades, etc) |  | Sharps are rarely handled.5 by hand |  | Sharps are always handled by hand | 0.75
2.11 | Does this laboratory have procedures in place for sharps handling to reduce/eliminate percutaneous exposure that meet defined best practices? | Proper practices for reducing percutaneous exposure are identified in the laboratory procedures, are taught, and verified on a regular schedule |  |  | Proper practices for reducing percutaneous exposure exist. but are not taught, enforced, verified or documented | Personnel are not specifically trained how to minimize percutaneous exposures | 1
2.12 | Does this laboratory have procedures in place for agent handling to reduce/eliminate aerosols? These procedures should meet defined best practices. | Proper practices for reducing/eliminating aerosols are identified in the laboratory procedures, are taught, and verified on a regular schedule |  |  | Proper practices for reducing/eliminating aerosols exist, but are not taught, enforced, verified, or documented | Personnel are not specifically trained how to minimize the production of aerosols | 1
2.13 | Are absorbent materials used on the bench or BSC to contain spills and reduce splashing? | Absorbent material is used for all procedures (on the bench or BSC) and disposed of after each use |  | Absorbent material is sometimes used | Absorbent material is used on the bench or BSC but only replaced periodically | Absorbent material is never used | 1
2.14 | After working with potentially contaminated material (cultures, infectious waste), how are objects that should not become contaminated (door handles, computer keyboards) handled? | Hands are always decontaminated prior to handling "Clean" objects |  |  | Hands are never decontaminated prior to handling "Clean" objects |  | 1
2.15 | Does this laboratory have procedures in place for spill response that meet defined best practices? | The lab has validated and exercised spill response procedures, including spill response kits (which contain appropriate PPE, cleaning items, and other required items), training on spill response, plans for validation of spill cleanup, spill response SOPs, and spill response decontamination mechanisms including waste validation. |  | The lab has basic spill response procedures in place, but does not conduct validation exercises on these procedures |  | The laboratory does not have spill response procedures in place | 0.5
2.16 | Does this laboratory have procedures in place for lab workers to reduce/eliminate contact exposure through broken skin, which meet defined best practices? | Proper practices for reducing/eliminating contact exposure through broken skin are identified in the laboratory procedures and are taught and verified on a regular basis |  | Proper practices for reducing/eliminating contact exposure through broken skin exist, but are not taught, enforced, verified or documented |  | No procedures exist to reduce/eliminate contact exposure through broken skin | 0.75
2.17 | How frequently are hands washed? | Hands are always washed frequently during the procedure (e.g. hands are washed between each procedure step) |  | Hands are washed only when leaving the lab |  | No formal hand washing policies exist | 0.75
Personal Protective Equipment:
|  | Value = 1 | Value = .25 | Value = .5 | Value = .25 | Value = 0
Training for use of, maintenance of, storage of, and disposal of is required for PPE to be effective at reducing the risk of exposure. Proper donning and doffing procedures are also required.
3.1 | Is there a formal personal protective equipment (PPE) program in place? | This laboratory has an active PPE program which includes, well-defined procedures for donning, doffing, storing, and maintaining PPE |  | This laboratory has some procedures in place for PPE, but lacks oversight in implementation | This laboratory has a limited PPE program in place | There is no PPE program at this laboratory | 1
Gloves provide direct protection of the wearer of contact to the skin on the hands and indirect protection of the mouth, nose, and eyes due to better awareness by the wearer. Multiple gloves can reduce the potential of a percutaneous exposure minimally, puncture resistant or puncture proof gloves offer true reduction in percutaneous exposure. Lab coats or other coverings help to reduce the potential for contact to the skin and help prevent the transfer of infectious materials outside the laboratory.
3.2 | What types of gloves are used for this procedure? | A single or double pairs of latex or nitrile type gloves are worn and the outer most pair is changed after handing contaminated or potentially contaminated objects |  | A single or double pair of latex or nitrile type gloves are worn during the duration of the procedure |  | Gloves are not typically worn | 0.75
3.3 | What type of protective clothing (PPE) is used in this laboratory? | Personnel wear dedicated laboratory clothing (e.g. scrubs) which is not worn outside the laboratory, anteroom, or change room | Gowns or lab coats are always worn over street clothes |  |  | Personnel wear street clothes in the laboratory and typically do not use gowns or lab coats. | 0.75
3.4 | What types of gloves are in use while using sharps (e.g. needles, scalpels, etc) in this procedure? | Heavy gloves (e.g. leather or thick rubber gloves) are typically worn while handling sharps |  | Two pairs of latex or nitrile type gloves are typically worn while handling sharps | No gloves are typically worn while handling sharps or a single pair of latex or nitrile type gloves are typically worn while handling sharps |  | 0
Safety glasses or goggles reduce the potential for exposure to the eyes. Face shield provide protection to the eyes, mouth, and nose. Surgical masks provide protection to the mouth and nose.
3.5 | What type of protective eyewear is used in this laboratory? | Personnel wear goggles and a face shield | Personnel wear goggles or a face shield | Personnel wear safety glasses |  | No eyewear protection is typically used | 0
3.6 | Are face shields or masks worn for this procedure? | Face shields are always used to protect the eyes/mouth/nose from contact | Surgical masks are used to protect mouth/nose from contact |  |  | Personnel do not wear any face protection | 0
Solid shoes protect the feet from contact exposure and provide barrier protection of physical hazards. Note feet often have compromised skin more often than hands. Laboratory dedicated shoes or shoe covered reduce the potential of transfer of infectious material outside the laboratory.
3.7 | What types of shoes are worn in the laboratory? | Laboratory-dedicated solid shoes are worn, shoes are never worn outside laboratory, anteroom, or change room | Shoe covers are worn over solid shoes, shoe covers are not worn outside laboratory, anteroom, or change room | Solid shoes are worn | Persons must wear closed-toed shoes | Persons can wear open-toe shoes in the laboratory | 0.25
Respirators, which are fitted and certified, offer protection from an inhalation exposure.
3.8 | Is respiratory protection used in this procedure? (surgical masks are not considered respiratory protection) | Respirators are always used and there is a formal respiratory protection/training program in place prior to use |  | Respirators (e.g. N95, N100, PAPR, Positive Pressure Suit, etc) are used (sometime) but there is no formal respiratory protection program (standardized fit testing or training) in place prior to use |  | No respiratory protection exists or is in use | 0
Controls Specifically Used for Animal Research
|  | Value = 1 | Value = .75 | Value = .5 | Value = .25 | Value = 0
Overall measures to ensure engineering controls are maintained, certified (or validated), trained on and operating procedures verified, helps to ensure the equipment is working as designed and offering the appropriate level of protection.
1.11 | Are animals housed in a manner that is isolated or sealed to prevent aerosol escape (e.g. isolator cages or cages inside a biobubble)? | Animals are always housed in a manner to prevent aerosol, these housings are validated/certified, well-maintained, and there are procedures in place for proper use |  | Animal housing that prevents aersol releasese exist, but are used only periodically - and/or Animal housing that prevents aersol releasese exist, but there is no formal training program or procedures in place for their use - and/or Animal housing that prevents aersol releasese exist, but they are not validated/certified on a regular basis |  | No special housing is used
1.12 | Are animals handled in isolation to prevent aerosol escape (e.g. in a BSC or handled inside a biobubble)? | Animals are always handled in a manner to prevent aerosol, these housings are validated/certified, well-maintained, and there are procedures in place for proper use |  | Animal handling facilities designed to prevent aersol releasese exist, but are used only periodically - and/or Animal handling facilities designed to prevent aersol releasese exist, but there is no formal training program or procedures in place for their use - and/or Animal handling facilities designed to prevent aersol releasese exist, but they are not validated/certified on a regular basis |  | No special facilities are used
1.13 | Are animals transported in a manner that prevents aerosol escape (e.g. isolator cages)? | Animals are always transported in a manner to prevent aerosol, these housings are validated/certified, well-maintained, and there are procedures in place for proper use |  | Animal transport systems, that prevents aersol releasese exist, but are used only periodically - and/or Animal transport systems, that prevents aersol releasese exist, but there is no formal training program or procedures in place for their use - and/or Animal transport systems, that prevents aersol releasese exist, but they are not validated/certified on a regular basis |  | No special housing is used for transport
1.14 | Are cage change-outs performed in the laboratory? | Change outs are preformend in facilities to prevent aerosol, these housings are validated/certified, well-maintained, and there are procedures in place for proper use |  | Change outs are preformend in facilities to prevent aerosol, but are used only periodically - and/or Change outs are preformend in facilities to prevent aerosol, but there is no formal training program or procedures in place for their use - and/or Change outs are preformend in facilities to prevent aerosol,, but they are not validated/certified on a regular basis |  | No special facilities are used
1.15 | How are wastes generated by animals disposed of? | Contaminated waste is safely and efficiently treated within lab |  | Contaminated waste leaves lab for external treatment |  | Contaminated waste is removed from lab and not treated
Starting with management commitment to safety, administrative controls reduce the potential of exposure by enabling better work practices, incident management, and create a responsible safety culture. Administrative controls can reduce the potential for an exposure to an individual in the laboratory and to the environment. Administrative controls include implementation of good laboratory practices, practices and procedures to reduce generation of aerosols, proper hand washing techniques, proper inventory management, proper sharps handling, proper spill response procedures, larger incident response procedures, and waste storage and handling. These measures reduce the potential for exposure via all routes.
|  | Value = 1 | Value = .75 | Value = .5 | Value = .25 | Value = 0
2.18 | Does this laboratory have animal handling procedures in place to reduce/eliminate exposures, which meet defined best practices? | This laboratory has an active animal laboratory practice program and well-defined procedures that employees are familiar with and implement |  | This laboratory has some animal procedures in place which include standard good laboratory practices, but lacks oversight in implementation | This laboratory has limited established animal procedures in place which include standard good laboratory practices | This laboratory does not have established animal procedures in place which includes standard good laboratory practices

## Security System Effectiveness
Questions | Discrete Values / Answer Options-Guidance |  |  |  |  | Value | Weight | Final Score | Weight | Final Score
Effectiveness of the security system | Values = 0 | Values = .25 | Values =.5 | Values =.75 | Values =1 |  | Insider | 0.48153 | Outsider | 0.55724 | Score | Measures to reduce theft from an insider (authorized site access) | Measures to reduce theft from an outsider (non-authorized site access)
Security Culture | [14 empty] | Hman | Animal
1. Does the institution have defined roles and responsibilities for biosecurity? | There is no identification of, or education on, biosecurity roles and responsibilities | Facility personnel are educated on their biosecurity roles and responsibilities | A biosafety officer is identified at this facility |  | Management at this facility ensures roles, responsibilities, and authorities are defined, documented, and communicated | 1 | 0.054 | 0.054 | 0.0432 | 0.0432 | Security System | 0.53847 | 0.46276 | Misuse | 0.4959 | 0.4959
2. Has the institution made a commitment to security? | Management at this facility is not aware, or interested in, biosecurity concerns | Management at this facility is aware of biosecurity concerns, but has not implemented a biosecurity policy or devoted resources to address the issue | Management at this facility have made some efforts to improve biosafety at the facility, but they are not comprehensive and/or are not fully implemented | This facility has a comprehensive biosecurity policy in place, which was developed, authorized, and signed by top management. The policy is appropriate to the nature and scale of the risk. Management establishes the commitment and objectives of the biosecurity system, and communicates this to all stakeholders. | Management at this facility identifies and prioritizes program needs and allocates funds as necessary | 1 | 0.078 | 0.078 | 0.0624 | 0.0624 |  |  |  | Consequences | 0.38812 | 0.18426
3. Does the institution have comprehensive biosecurity documentation? | This facility has no biosecurity policies, manuals, or SOPs | This facility has no specific biosecurity documentation | This facility has some biosecurity documentation, but they are not comprehensive and / or not fully implemented | This facility has biosecurity policies, manuals, and SOPs | This facility’s biosecurity documentation also includes risk assessment and incident response information | 1 | 0.02 | 0.02 | 0.016 | 0.016 |  |  |  | Insider | 0.26703 | 0.26703
4. Does the institution conduct biosecurity drills or exercises? | This facility does not conduct any biosecurity exercises |  | This facility conducts tabletops or other exercises on an ad hoc basis | This facility conducts annual exercises | This facility includes external responders in their exercises | 1 | 0.02 | 0.02 | 0.016 | 0.016 |  |  |  | outsider | 0.22948 | 0.22948
5. Does the institution periodically review the biosecurity program? | There is no review of the biosecurity program | The biosecurity program is reviewed and revised as necessary after any incidents or near-incidents |  | The biosecurity program is subject to internal self-assessments | Management at the facility ensures continual improvement, conducts routine self-assessments, and ensures corrective and preventive actions. Reviews include assessing opportunities for improvement and any needs for changes to the system, procedures, policies, and objectives. | 1 | 0.028 | 0.028 | 0.0224 | 0.0224
Physical security
1. What type (if any) of a perimeter security exists outside the building(s)? | Facility has no perimeter | Facility has a partial perimeter |  | Facility has a clearly defined perimeter (natural or man-made) |  | 0 | 0 | 0 | 0.03 | 0
2. How many barriers exist between public areas and the biological agent? | Only a single barrier exists between public areas and the biological agent (e.g. a single door) |  |  |  | Multiple physical barriers exist between public areas and the biological agent | 0.3 | 0 | 0 | 0.072 | 0.0216
3. Does the building housing the select biological agent or toxin limit access through a control system when the building is not occupied? | Building has no access controls | Building has only procedural access controls | Building has manual access controls (keys and locks) | Building has electronic access controls based on something single authentication system (e.g. swipe card or biometric) | Building has electronic access controls based upon multiple factors for authentication (e.g. PIN and/or swipe card and/or biometrics) | 0.5 | 0 | 0 | 0.108 | 0.054
4. Does the room housing the select biological agent or toxin limit access through a control system when the room is not occupied? | Room has no access controls | Room has only procedural access controls | Room has manual access controls (keys and locks) | Room has electronic access controls based on something single authentication system (e.g. swipe card or biometric) | Room has electronic access controls based upon multiple factors for authentication (e.g. PIN and/or swipe card and/or biometrics) | 0.5 | 0.03 | 0.015 | 0.108 | 0.054
5. Do the select biological agents or toxins storage areas (freezers, culture collection, etc.) limit access through a control system? | Storage areas have no access controls | Storage areas have only procedural access controls | Storage areas have manual access controls (keys and locks) | Storage areas have electronic access controls based on something single authentication system (e.g. swipe card or biometric) | Storage areas have electronic access controls based upon multiple factors for authentication (e.g. PIN and/or swipe card and/or biometrics) | 0.5 | 0.016 | 0.008 | 0.06 | 0.03
6. Are ALL individuals with access to the room, work areas, and any storage areas where select biological agents and toxins exist specifically approved for access? | No access controls exist on rooms or storage areas | Procedural access restrictions exist | Procedural access restrictions exist and individuals with access have been registered and approved |  | Electronic access controls, tied to a person, exist and individuals with access have been registered and approved. | 0.5 | 0.012 | 0.006 | 0.042 | 0.021
7. Do intrusion detection systems exist in the areas where select biological agent or toxins are used or stored? | No intrusion detection | Only detection is staff trained to report anything unusual | Detection based on observations by personnel, including roving guard patrols | Local annunciation of alarms only | Alarms for intrusion detection are reported to a guard station located within the facility or campus | 0.7 | 0.015 | 0.0105 | 0.054 | 0.0378
8. Are ALL doors (or other potential entry points) covered by an intrusion detection system? | No controls (access controls and/or intrusion detection) on any entry points |  |  | Control only on doors | Controls on all possible entry paths through barrier (e.g. glass break sensors on windows) | 0.7 | 0.015 | 0.0105 | 0.054 | 0.0378
9. How are alarms assessed? | No alarm assessment | Only alarm assessment is staff trained to report | Guards sent to assess alarms | Alarm assessed by camera | Alarm assessed by camera that records brief time before alarm and then afterwards | 0.45 | 0.006 | 0.0027 | 0.036 | 0.0162
10. How are alarms responded to? | No plans for alarm response |  | Local law enforcement is initial response and a MOU is in place for this | Local law enforcement is initial response, MOU in place, and this is exercised regularly OR Onsite guard response | Onsite guard response and LLE back-up with MOU and regular exercises | 0.8 | 0.006 | 0.0048 | 0.036 | 0.0288
Personnel Reliability
1. How are personnel vetted prior to allowing them unescorted access to the agent? | No vetting of personnel prior to granting access | Vetting includes only verification of credentials (education, prior employment ) and references | Vetting includes verification of credentials, references, and criminal history | Vetting includes verification of credentials, references, criminal history, and additional checks for derogatory information (e.g. financial checks, drug screening, interviews of contacts, personality tests) | Vetting includes verification of credentials, references, criminal history, and additional checks for derogatory information (e.g. financial checks, drug screening, interviews of contacts, personality tests) and regular reevaluation intervals are established | 0.2 | 0.135 | 0.027 | 0 | 0
2. How are the personnel vetted who will not have direct access of the agent? | No vetting of personnel prior to granting access | Vetting includes only verification of credentials (education, prior employment ) and references | Vetting includes verification of credentials, references, and criminal history | Vetting includes verification of credentials, references, criminal history, and additional checks for derogatory information (e.g. financial checks, drug screening, interviews of contacts, personality tests) | Vetting includes verification of credentials, references, criminal history, and additional checks for derogatory information (e.g. financial checks, drug screening, interviews of contacts, personality tests) and regular reevaluation intervals are established | 0 | 0.045 | 0 | 0 | 0
3. How are visitors and other individuals who have not been vetted escorted when accessing rooms with the biological agent or other materials? | Allowed unescorted access to room with asset | Administrative escorting to room with asset allowed | Escorting requirements in place but not defined escort ratios | Escorting requirements in place and escort ratios defined | Escort ratios defined, dates/times of escorted visitors recorded | 0.45 | 0.0675 | 0.030375 | 0 | 0
4. Are badges worn? | NO |  |  |  | YES | 0 | 0.0225 | 0 | 0.08 | 0
5. Do badges indicate level of access allowed by the wearer? | Badges not required or routinely worn or badges that are worn do not identify if badge belongs to person wearing it |  |  |  | Badges have a photo and expiration date | 0 | 0.0225 | 0 | 0 | 0
6. Does badge include a photo of the wearer (owner) and a time interval for when it is valid? | Badges not required or routinely worn | Badges are periodically but there are no formal procedures or requirements for photos to be on the badge | Badges contain a photo of the wearer or are specifically marked for visitors or other individuals needing temporary badging | Badges contain photo of the wearer | Badges contain photo of the wearer and a formal expiration date visible on the badge | 0 | 0.036 | 0 | 0 | 0
7. Are there procedures for returning badges or reporting lost badges? | Badges not required or routinely worn Or there are no formal badge procedures |  |  |  | Procedures are in place for lost badges and turning in badges when access in no longer needed | 0 | 0.036 | 0 | 0 | 0
8. What is the level of biosecurity training provided? | No biosecurity training provided |  | Biosecurity training provided to anyone with unescorted access | Biosecurity training provided to all employees | Biosecurity training provided to all employees and on-site contractors (e.g. guards) | 0.7 | 0.0675 | 0.04725 | 0 | 0
9. Do employee assistance programs exist? | No support systems in place | Informal support network among personnel | Formal employee assistance program in place | Formal employee assistance program in place, and employees not penalized if access voluntarily suspended due to a temporary situation | Formal employee assistance program in place, and employees not penalized if access voluntarily suspended due to a temporary situation, plus there is an anonymous whistleblower / ombudsman type program in mechanism in place | 0.2 | 0.018 | 0.0036 | 0 | 0
Transport Security
1. What is the level of control at a facility of materials moving between laboratories or while in shipping/receiving areas? | No controls during internal transport | Agent transported by authorized individual but may be left unattended in unsecured areas |  | Agent not left outside of custody of authorized individual during transit unless secured but level of security is lower than how it is secured in storage | Agent not left outside of custody of authorized individual during transit unless secured in a manner equivalent or better to how it is secured in storage | 0.7 | 0.015 | 0.0105 | 0 | 0
2. What type of vetting is required for personnel transporting material within the facility? | Facility personnel who have access to materials during internal transport are not vetted |  | Facility personnel who have access to the materials during internal transport are vetted but to a lower degree than those who handle the agent in the laboratory |  | Facility personnel who have access to materials during internal transport are vetted to the same degree or better as personnel who handle the agent in the laboratory | 0.45 | 0.02 | 0.009 | 0 | 0
3. What type of administrative approvals is required for internal transport? | No approvals or documentation required for internal transport |  | Pre-approval not required for internal transport but transfer is documented in laboratory records |  | Pre-approval required for internal transport and the transfer is documented in laboratory records | 0.5 | 0.007 | 0.0035 | 0 | 0
4. What type of administrative approvals is required for external transport? | No approvals or documentation required for external transport | Pre-approval not required for external transport but transfer is documented in laboratory records |  | Pre-approval by a responsible individual at the facility required prior to shipping to external recipient | And a material transfer agreement is required prior to final approval or an external regulatory body must approve the transfer prior to shipment | 0.7 | 0.014 | 0.0098 | 0.025 | 0.0175
5. What is the required security level for the receiving facility when sharing this agent? | No biosecurity (or biosecurity status is unknown) at receiving facility |  | Receiving facility has biosecurity but their level of security is lower than at shipping facility | Receiving facility has equivalent or better biosecurity | And notifications between shipping and receiving facility at time of dispatch and receipt, respectively | 0.9 | 0.016 | 0.0144 | 0.028 | 0.0252
6. How are agents packaged for external transport? | Agent can be identified by examining labels on outside of the package |  |  |  | Conforms to infectious substance shipping labeling requirements but does not identify the specific agent on the outside of the package. | 1 | 0.012 | 0.012 | 0.021 | 0.021
7. How are external carriers selected? | No thought is given to security in selection of carrier |  | External carrier chosen that has good reputation for security of commercial shipments (e.g. FedEx, DHL, Airborne Express) |  | External carrier chosen that has good reputation for security of commercial shipments (e.g. FedEx, DHL, Airborne Express) And the carrier has a security plan in place that covers shipments of dangerous biological agents | 0.5 | 0.015 | 0.0075 | 0.026 | 0.013
Material Control and Accountability
1. How does the facility determine which materials are subject to material control and accountability (MC&A) measures? | No materials are subject to MC&A measures | Individual PIs/lab owners make decisions about which materials require MC&A measures | Facility just relies on regulatory or international lists (e.g. Select agent list, Australia Group list) to determine which materials at their facility need MC&A measures | Facility risk assessment to identify and categorize those materials and forms of materials that require MC&A measures | Facility risk assessment to identify and categorize those materials and forms of materials that require MC&A measures and, where applicable, proactive measures towards the reduction of risk through elimination, substitution or minimization of volumes/quantities of agents, and the type and number of manipulations conducted. | 0.2 | 0.02 | 0.004 | 0.008 | 0.0016
2. Which materials are inventoried? | No material cataloging | Seed stock inventory electronically managed | Seed stock inventory actively managed and working stocks, including infected animal status, tracked through laboratory notes | Seed stock inventory electronically managed using a secure system and includes tracking of samples that have been transferred into and out of the lab, source, strain, controlled substance identification, form, responsible individual, etc. | Seed and working stock containers bar coded or otherwise identified, marked and cataloged for inventory tracking purposes. | 0.2 | 0.015 | 0.003 | 0.006 | 0.0012
3. What is the level of control of agents while in use (working stocks, infected animals, etc.)? | No controls in place when materials are in use |  | Controls in place when materials are in use (e.g. working tissue cultures, animals subjected to challenge experiments, in equipment such as incubators and centrifuges, etc.) but at lower level than controls for material in storage |  | Controls in place when materials are in use (e.g. working tissue cultures, animals subjected to challenge experiments, in equipment such as incubators and centrifuges, etc.) at equivalent level to controls for material in storage | 0 | 0.035 | 0 | 0.014 | 0
4. Are there clearly defined accountability roles and responsibilities? | No designation of responsibilities |  | PI aware of each agent used within their laboratory | A responsible individual is designated to oversee the control of protected agents | A qualified and vetted individual is designated to oversee the control of protected agents (agent-by-agent basis, on a per-laboratory basis, etc.) | 0.45 | 0.01 | 0.0045 | 0.004 | 0.0018
5. Are there clearly defined procedures for material control and accountability (MC&A)? | No procedures for MC&A exist |  | Some MC&A procedures are in place but they are not comprehensive and/or are not fully implemented |  | Written procedures are in place and implemented to ensure timely and accurate recording, reporting and auditing of materials subject to MC&A measures | 0.45 | 0.02 | 0.009 | 0.008 | 0.0036
Information Security
1. Has information which is considered sensitive been clearly identified, marked, and protected at a level equivalent to the risk of loss or release? | Minimal Information Security | No identification and classification of information in place |  |  | Sensitive (security-related) information is identified, marked, and classified at a level equivalent to the risk | 0 | 0.0085 | 0 | 0.0034 | 0
2. Is information which is considered sensitive protected from release or loss? | No protection of information |  | Some information protection procedures are in place but they are not comprehensive and/or are not fully implemented |  | Protecting sensitive (security-related) information at a level equivalent to the risk (e.g. information considered a valuable asset is held redundantly by the institution. Information is accessed on a need-to-know basis, by pre-approved/screened authorized individuals. Procedures for handling, storing, transmitting, and destroying sensitive information) | 0.5 | 0.014 | 0.007 | 0.0054 | 0.0027
3. Are there clearly defined communication policies regarding sensitive information? | No communication policies exist |  | Staff is trained on communication policies |  | Means of communicating sensitive information is controlled (e.g. encryption for electronic transmission, no cellular discussions or communication/viewing sensitive materials). | 0.5 | 0.005 | 0.0025 | 0.002 | 0.001
4. Are electronic critical infrastructure systems (including inventory databases, alarm control stations, access control systems, building monitoring systems, etc.) protected from attack? | No protection (e.g. adversary can access the systems through the internet) |  | Basic good practices are in place (e.g. firewalls, desktop security) |  | Comprehensive IT security infrastructure in place or not applicable because no sensitive information is stored | 1 | 0.0105 | 0.0105 | 0.004 | 0.004
5. Are there clearly defined policies for public disclosure of information? | No public disclosure procedures/policies in place |  | Some procedures/policies regarding public disclosure are in place but they are not comprehensive and/or are not fully implemented |  | Potentially sensitive (security-related) information is screened prior to public release, by an established review and approval process. Modification of information to make it appropriate for public release | 0.45 | 0.008 | 0.0036 | 0.0032 | 0.00144
6. Are electronic physical security systems (alarm control stations, access control systems, building monitoring systems, etc.) isolated from the public internet? | No protection (e.g. adversary can access the systems through the internet) | Systems are on the internal network by isolated from the internet by use of a firewall |  |  | Systems are on a private isolated network with no access from the internet or the general facility intranet | 1 | 0.005 | 0.005 | 0.002 | 0.002

## Results
Name of Lab and Biological Material |  |  | Monkey Pox |  |  | Biosafety Effectiveness
Viral Diagnosis Lab Monkey Pox | [5 empty] | Individual Values |  |  |  | Community Values
|  |  |  | Risk of Malicious Use on Humans | Risk of Malicious Use on Animals | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
| Human | Animal |  |  |  | 0.59357 | 0.6475 | 0.6475 | 0.6475 | 0.909 | 0.86038 | 0.77488 | 0.79363
Likelihood for Malicious Use | 0.4959 | 0.4959 |  |  |  | Potential for Exposure
Consequences of Successful Use | 0.38812 | 0.18426 |  |  |  | Individual Values |  |  |  | Community Values
[6 empty] | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
| Insider | outsider |  |  |  | 0.1755 | 0.225 | 0.4625 | 0.46 | 0.0886 | 0.1855 | 0.46 | 0.46
Security System Effectiveness | 0.0048153 | 0.0055724
[6 empty] | Agent Routes of Infection - Human |  |  |  | Agent Routes of Infection - Animal
[6 empty] | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
[6 empty] | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0
| Insider | Outsider
Likelihood of successful theft and misuse against human | 0.50343 | 0.50305
Likelihood of successful theft and misuse against animals | 0.50343 | 0.50305 |  |  |  | Likelihood of exposure
[6 empty] | Individual Values |  |  |  | Human Community Values
[6 empty] | Inhalation Inside Lab | Percutaneous inside Lab | Contact inside lab | Ingestion inside lab | Inhalation outside lab | Percutaneous outside lab | Contact outside lab | Ingestion outside lab
[6 empty] | 0.17864 | 0.17669 | 0.25333 | #NUM! | 0.03304 | 0.06875 | 0.16625 | #NUM!
Animal Values
Infects humans | TRUE | [8 empty] | Inhalation | Percutaneous | Contact | Ingestion
Infects animal | TRUE | [8 empty] | 0.03304 | 0.06875 | 0.16625 | #NUM!
Animals in lab | FALSE
Risk of Accidential Release on Animals (outside laboratory)
Risk of Accidental Release to Humans

## Agent Calculations (hidden)
[6 empty] | Inhalation | Percutaneous | Contact | Ingestion | Score | Weighted for Inhalation | Weighted for Percutaneous | Weighted For Contact | Weighted for Ingestion
Biological Properties - Likelihood of Infection
Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract)? | [5 empty] | 1 |  |  |  | 1 | 1
Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | [5 empty] | 0.98 |  |  |  | 1 | 0.98
Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream)? | [6 empty] | 1 |  |  | 1 |  | 1
Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | [6 empty] | 0.98 |  |  | 1 |  | 0.98
Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes)? | [7 empty] | 1 |  | 1 |  |  | 1
Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | [7 empty] | 0.98 |  | 1 |  |  | 0.98
Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract)? | [8 empty] | 1 | 0 |  |  |  | 0
Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | [8 empty] | 0.98 | 0 |  |  |  | 0
Likelihood of Infection | [10 empty] | 0.98995 | 0.98995 | 0.98995 | #NUM!
Humans? | TRUE | [9 empty] | 0.98995 | 0.98995 | 0.98995 | #NUM!
Animals? | TRUE | [9 empty] | 0.98995 | 0.98995 | 0.98995 | #NUM!
|  | Human Local Weight | Human Global | Animal Local Weights | Animal Global Weights | Score | Weighted Score
Biological Agent Properties – Potential for Successful Malicious Use
| Utility of the material for misuse | 20% |  | 20%
| L1. what 'form' is the material in? | 40% | 8% | 40% | 8% | 0.25 | 0.02
| 1. What is general population’s knowledge or awareness of this agent as related to biological weapons or bio-crime? | 50% | 10% | 50% | 10% | 0 | 0
| 2. What will the level of social impact (public panic, rioting, people being unwilling to go out and work, fear of additional incidents) of the disease caused by this agent occurring in the country? | 30% | 6% | 30% | 6% | 0.1 | 0.006
| Production | 20% |  | 20% |  | 0
| 3. What is the level of microbiological skill required to grow a suitable quantity (to meet the malicious objective) of this agent? | 50% | 10% | 50% | 10% | 0.25 | 0.025
| 4. What is the general accessibility of production equipment required to produce this agent? | 25% | 5% | 25% | 5% | 0.75 | 0.0375
| 5. What are the storage requirements for this agent? | 25% | 5% | 25% | 5% | 0.3 | 0.015
| Dissemination | 60% |  | 60% |  | 0
| 6. Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract)? | 18% | 10.8% | 13% | 7.8% | 1 | 0.108
| 6a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | 5% | 3% | 5% | 3% | 1 | 0.03
| 7. Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream)? | 3% | 1.8% | 3% | 1.8% | 1 | 0.018
| 7a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | 5% | 3% | 5% | 3% | 1 | 0.03
| 8. Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes)? | 17% | 10.2% | 15% | 9% | 1 | 0.102
| 8a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | 5% | 3% | 5% | 3% | 1 | 0.03
| 9. Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract)? | 12% | 7.2% | 12% | 7.2% | 0 | 0
| 9a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | 5% | 3% | 5% | 3% | 0 | 0
| 10. Is this agent known to cause infection via vector-borne transmission (to cause infection by direct mucosal membrane contact or percutaneous exposure from a vector (e.g. arthropod))? | 7% | 4.2% | 7% | 4.2% | 0 | 0
| 10a. Is the infectious dose (ID50) of this agent for this route less than 1000 or unknown? | 5% | 3% | 5% | 3% | 0 | 0
| 11. What is this agent’s stability outside of a host? | 8% | 4.8% | 8% | 4.8% | 0.3 | 0.0144
| 12. Can host to host transmission be used as a dissemination pathway to execute an attack? | 10% | 6% | 17% | 10.2% | 1 | 0.06
Likelihood of successful malicious use | [6 empty] | 0.4959
Biological Agent Properties – Consequences of a Successful Malicious Use | [5 empty] | Score | Weighted Score Human | Weighted Score Animal
| Health Impact | 45% | 100.1% |  | 100.3%
| Morbidity | 25%
| 1. What is the duration of illness in a normal healthy human host? | 23% | 2.588% |  | 0% | 0.75 | 0.019406 | 0
| 2. What is the severity of illness in a normal healthy human host? | 43% | 4.838% |  | 0% | 0.5 | 0.024188 | 0
| 3. What is the duration of infection in a normal healthy human host? | 10% | 1.125% |  | 0% | 0.5 | 0.005625 | 0
| 4. Does this disease cause any long term conditions in a normal healthy human host? | 24% | 2.7% |  | 0% | 0.05 | 0.00135 | 0
| Mortality | 75% |  |  |  | 0
| 5. What is the frequency of death (mortality rate) in humans caused by this disease? | 100% | 33.75% |  | 0% | 0.25 | 0.084375 | 0
| Animal Impact |  |  | 45% |  | 0
| 6. If the agent infects animals, what is the expected morbidity rate to a naïve but otherwise healthy animal population? |  |  | 25% | 11.25% | 0 | 0 | 0
| 7. What species of animals can this agent infect? |  |  | 54% | 24.3% | 0.25 | 0 | 0.06075
| 8. What is the disease impact on the general population? |  |  | 25% | 11.25% | 0 | 0 | 0
| Socioeconomic | 20% |  | 20% |  | 0
| 9. What is the economic impact of an outbreak of this agent to the country? | 40% | 8% | 32% | 6.4% | 0.1 | 0.008 | 0.0064
| 10. Is this agent endemic in the country? | 20% | 4% | 20% | 4% | 0.25 | 0.01 | 0.01
| 11. Are there active eradication/control programs of this agent in the country? | 10% | 2% | 10% | 2% | 0 | 0 | 0
| 12. Are clinical signs strong indicators of disease present? (For example, diseases that cause sudden death or diseases with obvious signs will be detected faster.) | 30% | 6% | 30.7% | 6.14% | 0.1 | 0.006 | 0.00614
| Mitigation Measures | 20% |  | 20% |  | 0
| 13. Are effective diagnostic tests available in the country for humans? | 27% | 5.4% |  | 0% | 1 | 0.054 | 0
| 14. Are effective post exposure treatments (including immuno-globulin, vaccines and anti-microbials) available in the country for humans? | 46% | 9.2% |  | 0% | 0.5 | 0.046 | 0
| 15. Are preventative measures (vaccines) available in the country for humans? | 27% | 5.4% |  | 0% | 0.5 | 0.027 | 0
| 16. Are effective diagnostic tests available in the country for animals? |  | 0% | 26% | 5.2% | 0 | 0 | 0
| 17. Are effective post exposure treatments (including immuno-globulin, vaccines and anti-microbials) available in the country for animals? |  | 0% | 45% | 9% | 0 | 0 | 0
| 18. Are preventative measures (vaccines) available in the country for animals? |  | 0% | 26% | 5.2% | 0 | 0 | 0
| 19. Are secondary consequence measures feasible in the country for animal populations? |  | 0% | 3% | 0.6% | 0 | 0 | 0
| Secondary Transmission | 15% |  | 15% |  | 0
| Transmission | 80% |  | 80% |  | 0
| 20. How easily does this agent transmit between human hosts? | 57.4% | 6.888% | 57.4% | 6.888% | 0.75 | 0.05166 | 0.05166
| 21. How easily does this agent transmit from animal to human hosts? | 23.8% | 2.856% | 23.8% | 2.856% | 0.75 | 0.02142 | 0.02142
| 22. How easily does this agent transmit from human to animal hosts? | 5.9% | 0.708% | 5.9% | 0.708% | 0.05 | 0.000354 | 0.000354
| 23. How easily does this agent transmit between animal hosts? | 12.9% | 1.548% | 12.9% | 1.548% | 0.5 | 0.00774 | 0.00774
| Routes | 20% |  | 20% |  | 0
| 24. Is this agent known to cause infection via inhalation (to cause infection via droplets or droplet nuclei that have entered the upper or lower respiratory tract) in the natural environment? | 40% | 1.2% | 39% | 1.17% | 1 | 0.012 | 0.0117
| 25. Is this agent known to cause infection via percutaneous exposure (to cause infection through compromised skin or direct injection into the blood stream) in the natural environment? | 5% | 0.15% | 5% | 0.15% | 1 | 0.0015 | 0.0015
| 26. Is this agent known to cause infection via direct contact (to cause infection through the mucosal membranes) in the natural environment? | 25% | 0.75% | 22% | 0.66% | 1 | 0.0075 | 0.0066
| 27. Is this agent known to cause infection via ingestion (to cause infection via contact with the gastrointestinal tract) in the natural environment? | 17% | 0.51% | 17% | 0.51% | 0 | 0 | 0
| 28. Is this agent known to cause infection via vector-borne transmission (to cause infection by direct mucosal membrane contact or percutaneous exposure from a vector (e.g. arthropod))? | 8% | 0.24% | 8% | 0.24% | 0 | 0 | 0
| 29. Is this agent known to cause infection via vertical transmission (to cause infection from mother to fetus in the womb or via ingestion of infected breast milk)? | 3% | 0.09% | 3% | 0.09% | 0 | 0 | 0
| 30. Is this agent known to cause infection via sexual transmission (to cause infection through sexual contact including intercourse)? | 6% | 0.18% | 6% | 0.18% | 0 | 0 | 0
Consequences of Successful Use | [6 empty] | 0.38812 | 0.18426

## Biosafety Effectiveness Calc (hidden)
| Biosafety Mitigation Measures: | Local Individual Weights |  |  |  | Local Community Weights |  |  |  | Global Individual Weights |  |  |  | Global Community Weights |  |  |  |  | Individual Values |  |  |  | Community Values
|  | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Score | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
| Engineering controls: | 0.333 | 0.25 | 0.25 | 0.25 | 0.75 | 0.4 | 0.55 | 0.55
1.1 | Are there procedures in place for preventative equipment maintenance to reduce/eliminate accidents or equipment failure, which meet defined best practices? These would include equipment calibration, validation, certification, etc. | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.0125 | 0.0125 | 0.0125 | 0.0375 | 0.02 | 0.0275 | 0.0275 | 1 | 0.01665 | 0.0125 | 0.0125 | 0.0125 | 0.0375 | 0.02 | 0.0275 | 0.0275
1.2 | What is the implemented process for the decontamination of equipment prior to maintenance? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.0125 | 0.0125 | 0.0125 | 0.0375 | 0.02 | 0.0275 | 0.0275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.3 | Are Biosafety cabinets used in this procedure? | 0.3 | [7 empty] | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.4 | Is all the equipment used in this procedure with a potential to generate infectious aerosols (e.g. centrifuge, vortexer, sonicator) isolated or sealed in a manner to prevent aerosol escape (e.g. sealed rotor cups, equipment in BSC or in a biobubble, etc) prior to use? | 0.3 | [7 empty] | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.5 | Are other forms of Primary Containment used in this procedure? | 0.3 | [7 empty] | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.6 | Are measures in place to reduce infectious aerosols exiting the laboratory? (Ventilation / HVAC) |  |  |  |  | 0.9 |  |  |  | 0 | 0 | 0 | 0 | 0.675 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.675 | 0 | 0 | 0
1.7 | How is liquid waste (effluent) handled? | [6 empty] | 0.45 | 0.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2475 | 0.2475 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18563 | 0.18563
1.8 | How easy are the surfaces in the laboratory to decontaminate? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.9 | How is contaminated waste stored in the laboratory? | [6 empty] | 0.45 | 0.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2475 | 0.2475 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2475 | 0.2475
1.10 | How is sharp waste handled? |  | 0.9 | 0.9 | 0.9 |  | 0.9 |  |  | 0 | 0.225 | 0.225 | 0.225 | 0 | 0.36 | 0 | 0 | 1 | 0 | 0.225 | 0.225 | 0.225 | 0 | 0.36 | 0 | 0
1.11 | Are animals housed in a manner that is isolated or sealed to prevent aerosol escape (e.g. isolator cages or cages inside a biobubble)? | 0.2 |  |  |  | 0.2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.12 | Are animals handled in isolation to prevent aerosol escape (e.g. in a BSC or handled inside a biobubble)? | 0.2 |  |  |  | 0.2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.13 | Are animals transported in a manner that prevents aerosol escape (e.g. isolator cages)? | 0.2 |  |  |  | 0.2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.14 | Are cage change-outs performed in the laboratory? | 0.2 |  |  |  | 0.2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.15 | How are wastes generated by animals disposed of? | 0.2 |  |  |  | 0.2 |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Administrative Controls: | 0.333 | 0.5 | 0.5 | 0.5 | 0.2 | 0.55 | 0.4 | 0.4
2.1 | Does the institution have defined roles and responsibilities for biosafety? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 1 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02
2.2 | Has the institution made a commitment to safety? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 1 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02
2.3 | Does the institution have comprehensive biosafety documentation? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 1 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02
2.4 | Does the institution conduct biosafety drills or exercises? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 0.3 | 0.004995 | 0.0075 | 0.0075 | 0.0075 | 0.003 | 0.00825 | 0.006 | 0.006
2.5 | Does the institution periodically review the biosafety program? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 1 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02
2.6 | Are all biological agents in this laboratory inventoried? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 0.1 | 0.001665 | 0.0025 | 0.0025 | 0.0025 | 0.001 | 0.00275 | 0.002 | 0.002
2.7 | Is there a shipping and receiving program in place at this laboratory? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 0.25 | 0.0041625 | 0.00625 | 0.00625 | 0.00625 | 0.0025 | 0.006875 | 0.005 | 0.005
2.8 | Are there standard operating procedures in place for unexpected or catastrophic incidents, including the release of or exposure to an infectious agent (e.g. Incident response plans)? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 0.5 | 0.008325 | 0.0125 | 0.0125 | 0.0125 | 0.005 | 0.01375 | 0.01 | 0.01
2.9 | Does this laboratory implement standard good laboratory practices for safety? | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02 | 1 | 0.01665 | 0.025 | 0.025 | 0.025 | 0.01 | 0.0275 | 0.02 | 0.02
2.10 | How are sharps handled in the laboratory? |  | 0.2 | 0.2 | 0.2 |  | 0.3 |  |  | 0 | 0.1 | 0.1 | 0.1 | 0 | 0.165 | 0 | 0 | 0.75 | 0 | 0.075 | 0.075 | 0.075 | 0 | 0.12375 | 0 | 0
2.11 | Does this laboratory have procedures in place for sharps handling to reduce/eliminate percutaneous exposure that meet defined best practices? |  | 0.2 | 0.2 | 0.2 |  | 0.25 |  |  | 0 | 0.1 | 0.1 | 0.1 | 0 | 0.1375 | 0 | 0 | 1 | 0 | 0.1 | 0.1 | 0.1 | 0 | 0.1375 | 0 | 0
2.12 | Does this laboratory have procedures in place for agent handling to reduce/eliminate aerosols? These procedures should meet defined best practices. | 0.3 |  |  |  | 0.3 |  |  |  | 0.0999 | 0 | 0 | 0 | 0.06 | 0 | 0 | 0 | 1 | 0.0999 | 0 | 0 | 0 | 0.06 | 0 | 0 | 0
2.13 | Are absorbent materials used on the bench or BSC to contain spills and reduce splashing? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.14 | After working with potentially contaminated material (cultures, infectious waste), how are objects that should not become contaminated (door handles, computer keyboards) handled? | [6 empty] | 0.15 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.06 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.06
2.15 | Does this laboratory have procedures in place for spill response that meet defined best practices? | 0.25 |  |  |  | 0.25 |  | 0.2 | 0.2 | 0.08325 | 0 | 0 | 0 | 0.05 | 0 | 0.08 | 0.08 | 0.5 | 0.041625 | 0 | 0 | 0 | 0.025 | 0 | 0.04 | 0.04
2.16 | Does this laboratory have procedures in place for lab workers to reduce/eliminate contact exposure through broken skin, which meet defined best practices? |  | 0.15 | 0.15 | 0.15 |  |  |  |  | 0 | 0.075 | 0.075 | 0.075 | 0 | 0 | 0 | 0 | 0.75 | 0 | 0.05625 | 0.05625 | 0.05625 | 0 | 0 | 0 | 0
2.17 | How frequently are hands washed? | [6 empty] | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0.08 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.06
2.18 | Does this laboratory have animal handling procedures in place to reduce/eliminate exposures, which meet defined best practices? | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Personal Protective Equipment: | 0.333 | 0.25 | 0.25 | 0.25 | 0.05 | 0.05 | 0.05 | 0.05
3.1 | Is there a formal personal protective equipment (PPE) program in place? | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 0.5 | 1 | 0.0333 | 0.025 | 0.025 | 0.025 | 0.05 | 0.05 | 0.025 | 0.05 | 1 | 0.0333 | 0.025 | 0.025 | 0.025 | 0.05 | 0.05 | 0.025 | 0.05
3.2 | What types of gloves are used for this procedure? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | What type of protective clothing (PPE) is used in this laboratory? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | What types of gloves are in use while using sharps (e.g. needles, scalpels, etc) in this procedure? |  | 0.9 | 0.9 | 0.9 |  |  |  |  | 0 | 0.225 | 0.225 | 0.225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | What type of protective eyewear is used in this laboratory? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.6 | Are face shields or masks worn for this procedure? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.7 | What types of shoes are worn in the laboratory? | [6 empty] | 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.025 | 0 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00625 | 0
3.8 | Is respiratory protection used in this procedure? (surgical masks are not considered respiratory protection) | 0.9 | [7 empty] | 0.2997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effectiveness of the biosafety system per route | [18 empty] | 0.59357 | 0.6475 | 0.6475 | 0.6475 | 0.909 | 0.86038 | 0.77488 | 0.79363
Animals | FALSE
Engineering controls | [9 empty] | 33.3% | 25% | 25% | 25% | 75% | 40% | 55% | 55% |  | 31.67% | 31.67% | 31.67% | 31.67% | 31.67% | 31.67% | 27.92% | 27.92%
Administrative Controls | [9 empty] | 33.3% | 50% | 50% | 50% | 20% | 55% | 40% | 40% |  | 22.75% | 24% | 24% | 24% | 22.75% | 24.42% | 21.92% | 21.92%
Personal Protective Equipment | [9 empty] | 33.3% | 25% | 25% | 25% | 5% | 5% | 5% | 5% |  | 3.333% | 3.333% | 3.333% | 3.333% | 33.33% | 33.33% | 20.83% | 33.33%
[10 empty] | 99.9% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | 57.75% | 59% | 59% | 59% | 87.75% | 89.42% | 70.67% | 83.17%

## Security System Calculations (hidden)
| Local Weight | Global Weight | Local Weights | Global Weights | Score | Measures to reduce theft from an insider (authorized site access) | Measures to reduce theft from an outsider (non-authorized site access)
| Insider | Insider | Outsider | Outsider
Effectiveness of the security system
Security Culture | 0.2 |  | 0.16
1. Does the institution have defined roles and responsibilities for biosecurity? | 0.27 | 0.054 | 0.27 | 0.0432 | 1 | 0.054 | 0.0432
2. Has the institution made a commitment to security? | 0.39 | 0.078 | 0.39 | 0.0624 | 1 | 0.078 | 0.0624
3. Does the institution have comprehensive biosecurity documentation? | 0.1 | 0.02 | 0.1 | 0.016 | 1 | 0.02 | 0.016
4. Does the institution conduct biosecurity drills or exercises? | 0.1 | 0.02 | 0.1 | 0.016 | 1 | 0.02 | 0.016
5. Does the institution periodically review the biosecurity program? | 0.14 | 0.028 | 0.14 | 0.0224 | 1 | 0.028 | 0.0224
Physical security | 0.1 |  | 0.6 |  | 0
1. What type (if any) of a perimeter security exists outside the building(s)? |  | 0 | 0.05 | 0.03 | 0 | 0 | 0
2. How many barriers exist between public areas and the biological agent? |  | 0 | 0.12 | 0.072 | 0.3 | 0 | 0.0216
3. Does the building housing the select biological agent or toxin limit access through a control system when the building is not occupied? |  | 0 | 0.18 | 0.108 | 0.5 | 0 | 0.054
4. Does the room housing the select biological agent or toxin limit access through a control system when the room is not occupied? | 0.3 | 0.03 | 0.18 | 0.108 | 0.5 | 0.015 | 0.054
5. Do the select biological agents or toxins storage areas (freezers, culture collection, etc.) limit access through a control system? | 0.16 | 0.016 | 0.1 | 0.06 | 0.5 | 0.008 | 0.03
6. Are ALL individuals with access to the room, work areas, and any storage areas where select biological agents and toxins exist specifically approved for access? | 0.12 | 0.012 | 0.07 | 0.042 | 0.5 | 0.006 | 0.021
7. Do intrusion detection systems exist in the areas where select biological agent or toxins are used or stored? | 0.15 | 0.015 | 0.09 | 0.054 | 0.7 | 0.0105 | 0.0378
8. Are ALL doors (or other potential entry points) covered by an intrusion detection system? | 0.15 | 0.015 | 0.09 | 0.054 | 0.7 | 0.0105 | 0.0378
9. How are alarms assessed? | 0.06 | 0.006 | 0.06 | 0.036 | 0.45 | 0.0027 | 0.0162
10. How are alarms responded to? | 0.06 | 0.006 | 0.06 | 0.036 | 0.8 | 0.0048 | 0.0288
Personnel Reliability | 0.45 |  | 0.08 |  | 0
1. How are personnel vetted prior to allowing them unescorted access to the agent? | 0.3 | 0.135 |  | 0 | 0.2 | 0.027 | 0
2. How are the personnel vetted who will not have direct access of the agent? | 0.1 | 0.045 |  | 0 | 0 | 0 | 0
3. How are visitors and other individuals who have not been vetted escorted when accessing rooms with the biological agent or other materials? | 0.15 | 0.0675 |  | 0 | 0.45 | 0.030375 | 0
4. Are badges worn? | 0.05 | 0.0225 | 1 | 0.08 | 0 | 0 | 0
5. Do badges indicate level of access allowed by the wearer? | 0.05 | 0.0225 |  | 0 | 0 | 0 | 0
6. Does badge include a photo of the wearer (owner) and a time interval for when it is valid? | 0.08 | 0.036 |  | 0 | 0 | 0 | 0
7. Are there procedures for returning badges or reporting lost badges? | 0.08 | 0.036 |  | 0 | 0 | 0 | 0
8. What is the level of biosecurity training provided? | 0.15 | 0.0675 |  | 0 | 0.7 | 0.04725 | 0
9. Do employee assistance programs exist? | 0.04 | 0.018 |  | 0 | 0.2 | 0.0036 | 0
Transport Security | 0.1 |  | 0.1 |  | 0
1. What is the level of control at a facility of materials moving between laboratories or while in shipping/receiving areas? | 0.15 | 0.015 |  | 0 | 0.7 | 0.0105 | 0
2. What type of vetting is required for personnel transporting material within the facility? | 0.2 | 0.02 |  | 0 | 0.45 | 0.009 | 0
3. What type of administrative approvals is required for internal transport? | 0.07 | 0.007 |  | 0 | 0.5 | 0.0035 | 0
4. What type of administrative approvals is required for external transport? | 0.14 | 0.014 | 0.25 | 0.025 | 0.7 | 0.0098 | 0.0175
5. What is the required security level for the receiving facility when sharing this agent? | 0.16 | 0.016 | 0.28 | 0.028 | 0.9 | 0.0144 | 0.0252
6. How are agents packaged for external transport? | 0.12 | 0.012 | 0.21 | 0.021 | 1 | 0.012 | 0.021
7. How are external carriers selected? | 0.15 | 0.015 | 0.26 | 0.026 | 0.5 | 0.0075 | 0.013
Material Control and Accountability | 0.1 |  | 0.04 |  | 0
1. How does the facility determine which materials are subject to material control and accountability (MC&A) measures? | 0.2 | 0.02 | 0.2 | 0.008 | 0.2 | 0.004 | 0.0016
2. Which materials are inventoried? | 0.15 | 0.015 | 0.15 | 0.006 | 0.2 | 0.003 | 0.0012
3. What is the level of control of agents while in use (working stocks, infected animals, etc.)? | 0.35 | 0.035 | 0.35 | 0.014 | 0 | 0 | 0
4. Are there clearly defined accountability roles and responsibilities? | 0.1 | 0.01 | 0.1 | 0.004 | 0.45 | 0.0045 | 0.0018
5. Are there clearly defined procedures for material control and accountability (MC&A)? | 0.2 | 0.02 | 0.2 | 0.008 | 0.45 | 0.009 | 0.0036
Information Security | 0.05 |  | 0.02 |  | 0
1. Has information which is considered sensitive been clearly identified, marked, and protected at a level equivalent to the risk of loss or release? | 0.17 | 0.0085 | 0.17 | 0.0034 | 0 | 0 | 0
2. Is information which is considered sensitive protected from release or loss? | 0.28 | 0.014 | 0.27 | 0.0054 | 0.5 | 0.007 | 0.0027
3. Are there clearly defined communication policies regarding sensitive information? | 0.1 | 0.005 | 0.1 | 0.002 | 0.5 | 0.0025 | 0.001
4. Are electronic critical infrastructure systems (including inventory databases, alarm control stations, access control systems, building monitoring systems, etc.) protected from attack? | 0.21 | 0.0105 | 0.2 | 0.004 | 1 | 0.0105 | 0.004
5. Are there clearly defined policies for public disclosure of information? | 0.16 | 0.008 | 0.16 | 0.0032 | 0.45 | 0.0036 | 0.00144
6. Are electronic physical security systems (alarm control stations, access control systems, building monitoring systems, etc.) isolated from the public internet? | 0.1 | 0.005 | 0.1 | 0.002 | 1 | 0.005 | 0.002
Security System Effectivness | [5 empty] | 0.48153 | 0.55724
Security Culture |  | 0.2 |  | 0.16 |  | 16.67% | 16.67%
Physical security |  | 0.1 |  | 0.6 |  | 9.583% | 7.567%
Personnel Reliability |  | 0.45 |  | 0.08 |  | 4.008% | 0%
Transport Security |  | 0.099 |  | 0.1 |  | 11.23% | 12.78%
Material Control and Accountability |  | 0.1 |  | 0.04 |  | 3.417% | 3.417%
Information Security |  | 0.051 |  | 0.02 |  | 7.712% | 9.283%
| Local Weight | Global Weight | Local Weights | Global Weights | Score | Weighted Score Insider | Weighted Score Outsider
| Insider | Insider | Outsider | Outsider

## Potential for Exposure Calc (hidden)
Laboratory Procedures | Local Individual Weights |  |  |  | Local Community Weights |  |  |  | Global Individual Weights |  |  |  | Global Community Weights |  |  |  |  | Individual Values |  |  |  | Community Values
| Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion | Score | Inhalation | Percutaneous | Contact | Ingestion | Inhalation | Percutaneous | Contact | Ingestion
Laboratory procedures that increase the potential for an exposure: | 0.82 | 0.37 | 0.67 | 0.68 | 0.9 | 0.9 | 0.76 | 0.76
1. What type of material will be used in this procedure? | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.25 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025
2. What is the greatest volume of material existing at one time in the procedure? | 0.05 | 0.05 | 0.05 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05 | 0.05 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.25 | 0.0125 | 0.0125 | 0.0125 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
3. What is the potential for aerosols to be generated as a byproduct of this procedure? (E.g. pipetting, sonication, etc.)? | 0.35 |  |  |  | 0.5 |  |  |  | 0.35 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0.1 | 0.035 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0
4. Are aerosolization experiments being conducted as part of this procedure? | 0.3 |  |  |  | 0.36 |  |  |  | 0.3 | 0 | 0 | 0 | 0.36 | 0 | 0 | 0 | 0.01 | 0.003 | 0 | 0 | 0 | 0.0036 | 0 | 0 | 0
5. What is the amount of sharps used in the procedure? |  | 0.5 |  |  |  | 0.43 |  |  | 0 | 0.5 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0.1 | 0 | 0.05 | 0 | 0 | 0 | 0.043 | 0 | 0
6. What is the amount of breakable material or items with sharp edges in this laboratory? |  | 0.15 |  |  |  | 0.43 |  |  | 0 | 0.15 | 0 | 0 | 0 | 0.43 | 0 | 0 | 0.25 | 0 | 0.0375 | 0 | 0 | 0 | 0.1075 | 0 | 0
7. What is the potential and extent of a splash or spill in this procedure? | 0.2 | 0.2 | 0.85 | 0.85 |  |  | 0.85 | 0.85 | 0.2 | 0.2 | 0.85 | 0.85 | 0 | 0 | 0.85 | 0.85 | 0.5 | 0.1 | 0.1 | 0.425 | 0.425 | 0 | 0 | 0.425 | 0.425
Laboratory procedures with animals that increase the potential for an exposure: | 0.18 | 0.63 | 0.33 | 0.33 | 0.1 | 0.1 | 0.25 | 0.25
8. How many animals are in use in this procedure? | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9. What is the typical size of these animals? | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10. Are there more than one species of animal in use in the laboratory? | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11. Are animals which have the potential to shed infectious particles used in this procedure? | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12. How much waste is produced by the laboratory animals used in this procedure? | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13. Are animals which have the potential to bite or scratch (transmit infectious material through the skin) used in this procedure? | 0.2 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | Potential for exposure per route | [11 empty] | 0.1755 | 0.225 | 0.4625 | 0.46 | 0.0886 | 0.1855 | 0.46 | 0.46